Process control introduction for process engineers training course

Agenda

- Introduction

  - Course objectives

  - The need / motivation for automatic control

  - The challenges and consequences

- The main control objectives: Feedback vs. constraint control vs. optimization

- Development of the control strategy

  - Selecting the proper input variable (PV)

    - The importance of the quality (accuracy & timeliness) of the information

    - The need for intermediate / auxiliary controls

  - Selecting the proper input into the process, the manipulated variable (MV)

    - Fundamental considerations

    - One or more MV’s

    - Split range control

  - Decision single loop and cascade control

- Process behaviour

  - Behaviour types: Self-regulating, integrating, ..

  - Process dynamics

    - The key process parameters and their importance for control

    - The importance of the controllability ratio

- Feedback control introduction

  - Principle, areas of use

- PID control fundamentals

  - Principal behaviour

  - The influence of the process type and dynamics

  - Limitations of the PID

  - Alternatives: MBC

- Handling of disturbances – feedforward disturbance compensation

  - Principle, decision for use

  - Prerequisites, importance of the “relative dynamics”

- Introduction to Model Based Control (MBC), Multivariable Control

  - Purpose, principle, decision criteria

- Special considerations:

  - Recycle streams, heat integration

- Typical equipment examples: Heat exchanger, vessel, furnace, batch reactor, distillation tower

- Final remarks, recommendations